	The total of the discharges below is 8.55 billion gallons for the Sept 13 & 14 dates 



	
	




	CSO Event Details

	Reporting Entity: Detroit MI0022802

	Designated Name:
	Detroit WWTP (About this Facility)

	Event Type:
	CSO

	Notification Date/Time:
	9/13/2008 1:06:00 PM

	Event Start Date/Time:
	9/13/2008 10:37:00 AM

	Event End Date/Time:
	9/17/2008 12:03:00 AM

	Volume:
	4276.9 Million Gallons

	Characterization:
	The discharge was reported per statuatory requirements.

	Precipitation Type:
	Rain

	Precipitation Amount:
	

	Discharge Locations:

	Outfall Number:
	005 - McClennan

	Outfall Location:
	McClennan extended

	Receiving Water:
	Detroit River

	Volume from this Outfall:
	4.88 Million Gallons

	Discharge Water Quality:
	Diluted Raw Sewage

	Outfall Discharge Start:
	9/13/2008 10:58:00 AM

	Outfall Discharge End:
	9/14/2008 10:46:00 PM

	


	Outfall Number:
	006 - Fischer

	Outfall Location:
	Fischer @ Detroit River

	Receiving Water:
	Detroit River

	Volume from this Outfall:
	314.03 Million Gallons

	Discharge Water Quality:
	Diluted Raw Sewage

	Outfall Discharge Start:
	9/13/2008 12:27:00 PM

	Outfall Discharge End:
	9/14/2008 10:31:00 PM

	


	Outfall Number:
	009 - Mt. Elliot

	Outfall Location:
	Mt. Elliot @ Detroit River

	Receiving Water:
	Detroit River

	Volume from this Outfall:
	2.47 Million Gallons

	Discharge Water Quality:
	Diluted Raw Sewage

	Outfall Discharge Start:
	9/13/2008 1:27:00 PM

	Outfall Discharge End:
	9/14/2008 9:03:00 PM

	


	Outfall Number:
	012 - Jos.Campau

	Outfall Location:
	J. Campau @ Detroit River

	Receiving Water:
	Detroit River

	Volume from this Outfall:
	252.17 Million Gallons

	Discharge Water Quality:
	Diluted Raw Sewage

	Outfall Discharge Start:
	9/13/2008 11:27:00 AM

	Outfall Discharge End:
	9/14/2008 10:17:00 PM

	


	Outfall Number:
	016 - Orleans Relief

	Outfall Location:
	Orleans (east side)

	Receiving Water:
	Detroit River

	Volume from this Outfall:
	10.61 Million Gallons

	Discharge Water Quality:
	Diluted Raw Sewage

	Outfall Discharge Start:
	9/13/2008 10:52:00 AM

	Outfall Discharge End:
	9/14/2008 8:05:00 PM

	


	Outfall Number:
	019 - Rivard

	Outfall Location:
	Rivard @ Detroit River

	Receiving Water:
	Detroit River

	Volume from this Outfall:
	1.61 Million Gallons

	Discharge Water Quality:
	Diluted Raw Sewage

	Outfall Discharge Start:
	9/14/2008 5:41:00 PM

	Outfall Discharge End:
	7/14/2008 6:06:00 PM

	


	Outfall Number:
	020 - Hastings

	Outfall Location:
	Schweizer Pl. @ Detroit River

	Receiving Water:
	Detroit River

	Volume from this Outfall:
	1.25 Million Gallons

	Discharge Water Quality:
	Diluted Raw Sewage

	Outfall Discharge Start:
	9/13/2008 12:05:00 PM

	Outfall Discharge End:
	9/14/2008 7:11:00 PM

	


	Outfall Number:
	021 - Randolph

	Outfall Location:
	Randolph @ Detroit River

	Receiving Water:
	Detroit River

	Volume from this Outfall:
	3.91 Million Gallons

	Discharge Water Quality:
	Diluted Raw Sewage

	Outfall Discharge Start:
	9/13/2008 12:12:00 PM

	Outfall Discharge End:
	9/14/2008 6:11:00 PM

	


	Outfall Number:
	022 - Bates

	Outfall Location:
	Bates @ Detroit River

	Receiving Water:
	Detroit River

	Volume from this Outfall:
	255.62 Million Gallons

	Discharge Water Quality:
	Diluted Raw Sewage

	Outfall Discharge Start:
	9/13/2008 11:18:00 AM

	Outfall Discharge End:
	9/14/2008 10:49:00 PM

	


	Outfall Number:
	023 - Woodward

	Outfall Location:
	Woodward @ Detroit River

	Receiving Water:
	Detroit River

	Volume from this Outfall:
	55.38 Million Gallons

	Discharge Water Quality:
	Diluted Raw Sewage

	Outfall Discharge Start:
	9/13/2008 12:13:00 PM

	Outfall Discharge End:
	9/14/2008 6:52:00 PM

	


	Outfall Number:
	026 - Third

	Outfall Location:
	Third @ Detroit River

	Receiving Water:
	Detroit River

	Volume from this Outfall:
	17.66 Million Gallons

	Discharge Water Quality:
	Diluted Raw Sewage

	Outfall Discharge Start:
	9/13/2008 12:07:00 PM

	Outfall Discharge End:
	9/14/2008 7:09:00 PM

	


	Outfall Number:
	027 - Cabacier

	Outfall Location:
	Brooklyn extended

	Receiving Water:
	Detroit River

	Volume from this Outfall:
	6.71 Million Gallons

	Discharge Water Quality:
	Diluted Raw Sewage

	Outfall Discharge Start:
	9/13/2008 11:14:00 AM

	Outfall Discharge End:
	9/14/2008 8:14:00 PM

	


	Outfall Number:
	028 - Eleventh

	Outfall Location:
	11th @ Detroit River

	Receiving Water:
	Detroit River

	Volume from this Outfall:
	0.17 Million Gallons

	Discharge Water Quality:
	Diluted Raw Sewage

	Outfall Discharge Start:
	9/13/2008 12:41:00 PM

	Outfall Discharge End:
	9/14/2008 6:15:00 PM

	


	Outfall Number:
	030 - Vermont

	Outfall Location:
	Vermont extended

	Receiving Water:
	Detroit River

	Volume from this Outfall:
	2.17 Million Gallons

	Discharge Water Quality:
	Diluted Raw Sewage

	Outfall Discharge Start:
	9/13/2008 11:28:00 AM

	Outfall Discharge End:
	9/14/2008 6:26:00 PM

	


	Outfall Number:
	031 - 18th

	Outfall Location:
	18th @ Detroit River

	Receiving Water:
	Detroit River

	Volume from this Outfall:
	0.76 Million Gallons

	Discharge Water Quality:
	Diluted Raw Sewage

	Outfall Discharge Start:
	9/13/2008 12:37:00 PM

	Outfall Discharge End:
	9/14/2008 6:35:00 PM

	


	Outfall Number:
	033 - 24th

	Outfall Location:
	24th @ Detroit River

	Receiving Water:
	Detroit River

	Volume from this Outfall:
	0.82 Million Gallons

	Discharge Water Quality:
	Diluted Raw Sewage

	Outfall Discharge Start:
	9/13/2008 11:39:00 AM

	Outfall Discharge End:
	9/14/2008 6:33:00 PM

	


	Outfall Number:
	034 - West Grand Blvd

	Outfall Location:
	West Grand Blvd. @ Detroit River

	Receiving Water:
	Detroit River

	Volume from this Outfall:
	0.07 Million Gallons

	Discharge Water Quality:
	Diluted Raw Sewage

	Outfall Discharge Start:
	9/13/2008 12:51:00 PM

	Outfall Discharge End:
	9/13/2008 1:52:00 PM

	


	Outfall Number:
	039 - Ferinand

	Outfall Location:
	Ferinand @ Detroit River

	Receiving Water:
	Detroit River

	Volume from this Outfall:
	0.03 Million Gallons

	Discharge Water Quality:
	Diluted Raw Sewage

	Outfall Discharge Start:
	9/13/2008 12:52:00 PM

	Outfall Discharge End:
	9/13/2008 1:21:00 PM

	


	Outfall Number:
	054 - Fort Street (DWSD NWI int.)

	Outfall Location:
	S. Fort @ Detroit River (west)

	Receiving Water:
	Rouge River

	Volume from this Outfall:
	0.14 Million Gallons

	Discharge Water Quality:
	Diluted Raw Sewage

	Outfall Discharge Start:
	9/14/2008 7:12:00 PM

	Outfall Discharge End:
	9/14/2008 7:17:00 PM

	


	Outfall Number:
	059 - Warren

	Outfall Location:
	W. Warren @ Detroit River

	Receiving Water:
	Rouge River

	Volume from this Outfall:
	78.8 Million Gallons

	Discharge Water Quality:
	Diluted Raw Sewage

	Outfall Discharge Start:
	9/13/2008 11:10:00 AM

	Outfall Discharge End:
	9/14/2008 7:11:00 PM

	


	Outfall Number:
	062 - W. Chicago (west)

	Outfall Location:
	W. Chicago @ Detroit River

	Receiving Water:
	Rouge River

	Volume from this Outfall:
	0.03 Million Gallons

	Discharge Water Quality:
	Diluted Raw Sewage

	Outfall Discharge Start:
	9/13/2008 10:37:00 AM

	Outfall Discharge End:
	9/13/2008 12:46:00 PM

	


	Outfall Number:
	082 - Oakwood Pump Station

	Outfall Location:
	Sander & Liddesdale

	Receiving Water:
	O`Brien Drain (tributary to Rouge River)

	Volume from this Outfall:
	81.52 Million Gallons

	Discharge Water Quality:
	Diluted Raw Sewage

	Outfall Discharge Start:
	9/13/2008 11:02:00 AM

	Outfall Discharge End:
	9/14/2008 8:07:00 PM

	


	Outfall Number:
	101A - Hubbell/Southfield Retention Treatment Basin

	Outfall Location:
	east of Southfield Freeway, south of Michigan Ave., discharges to north bank of Rouge River

	Receiving Water:
	Rouge River

	Volume from this Outfall:
	565.57 Million Gallons

	Discharge Water Quality:
	Partially Treated Sewage

	Outfall Discharge Start:
	9/13/2008 12:48:00 PM

	Outfall Discharge End:
	9/15/2008 11:39:00 PM

	


	Outfall Number:
	103A - Seven Mile Retention Treatment Basin

	Outfall Location:
	¼ mile north of 7 Mile Rd., east of Shiawassee, west bank of river

	Receiving Water:
	Rouge River

	Volume from this Outfall:
	5.8 Million Gallons

	Discharge Water Quality:
	Partially Treated Sewage

	Outfall Discharge Start:
	9/14/2008 5:14:00 PM

	Outfall Discharge End:
	9/14/2008 6:18:00 PM

	


	Outfall Number:
	049A - Primary treatment outfall (with disinfection /dechlorination) @ the WWTP; authorized only when influent flows exceeds 930 MGD

	Outfall Location:
	@ the WWTP

	Receiving Water:
	Detroit River

	Volume from this Outfall:
	490.73 Million Gallons

	Discharge Water Quality:
	Partially Treated Sewage

	Outfall Discharge Start:
	9/13/2008 11:18:00 AM

	Outfall Discharge End:
	9/17/2008 12:03:00 AM

	


	Outfall Number:
	050A - Primary treatment outfall to the Rouge River, will be routed through 084A (DRO-2) once complete and also provide disinfection & dechlor.

	Outfall Location:
	@ the WWTP

	Receiving Water:
	Rouge River

	Volume from this Outfall:
	1366.46 Million Gallons

	Discharge Water Quality:
	Partially Treated Sewage

	Outfall Discharge Start:
	9/13/2008 11:51:00 AM

	Outfall Discharge End:
	9/16/2008 7:38:00 AM

	


	Outfall Number:
	106A - St. Aubin

	Outfall Location:
	St. Aubin Screening & Disinfection Facility

	Receiving Water:
	Detroit River

	Volume from this Outfall:
	26.5 Million Gallons

	Discharge Water Quality:
	Partially Treated Sewage

	Outfall Discharge Start:
	9/13/2008 11:30:00 AM

	Outfall Discharge End:
	9/14/2008 10:00:00 PM

	


	Outfall Number:
	107A - Baby Creek

	Outfall Location:
	Baby Creek Screening & Disinfection Facility

	Receiving Water:
	Rouge River

	Volume from this Outfall:
	234.2 Million Gallons

	Discharge Water Quality:
	Partially Treated Sewage

	Outfall Discharge Start:
	9/13/2008 12:40:00 PM

	Outfall Discharge End:
	9/14/2008 9:05:00 PM

	


	Outfall Number:
	105A - Leib

	Outfall Location:
	Leib Screening & Disinfection Facility

	Receiving Water:
	Detroit River

	Volume from this Outfall:
	18.1 Million Gallons

	Discharge Water Quality:
	Partially Treated Sewage

	Outfall Discharge Start:
	9/13/2008 5:40:00 PM

	Outfall Discharge End:
	9/14/2008 10:30:00 PM

	


	Outfall Number:
	104A - Conner Creek CSO Retention Ttreatment Basin (RTB)

	Outfall Location:
	Clairpointe & Freud

	Receiving Water:
	Conner Creek (tributary to Detroit River)

	Volume from this Outfall:
	478.72 Million Gallons

	Discharge Water Quality:
	Partially Treated Sewage

	Outfall Discharge Start:
	9/13/2008 2:07:00 PM

	Outfall Discharge End:
	9/15/2008 8:52:00 AM

	


	Return to CSO/SSO Search Page

	
Michigan.gov Home   |  DEQ_Home  |   Online Services  |   Permits  |   Programs  |   Site Map  |   Contact_DEQ
State Web Sites  |   Privacy Policy  |   Link Policy  |   Security Policy
Copyright © 2001-2005 State of Michigan


